Yeast assay of β-galactosidase

- Prior to experiment, label microfuge tubes 2x and small glass tubes (label or number) as well as check volumes of breaking buffer, Lowry reagents, Z-buffer, ONPG, CHCl3, Na2CO3, Folin regent and SDS.

- Grow a 3ml pre-culture from patched out cells 2-3 overnights to stationary.  1 overnight would be fine if you have a good patch.  2-3 overnights ensure even growth in the next step.

- Dilute stationary culture 10-100ul in 5ml, grow about 18hours to mid-log (OD600=0.9-1.0).  Be sure to check in the morning.  I like to inoculate 25ul for 18hrs (inoculate ~3pm and ready around 8-10am)

- Spin down cells in clinical centrifuge.  Resuspend in 1ml ddH2O and transfer to microfuge tubes.

- Spin down cells 8500 rpm 1min, remove supernatant using vacuum aspirator, and add 200ul breaking buffer, 25ul CHCl3, and 25ul 0.1% (W/V) SDS. (repeat pipetter)

- Put in vortex machine for about 30-45 seconds.  (create an extra tube with 200ul breaking buffer, 25ul CHCl3, and 25ul SDS as a control)

- Add 10-50ul of extract to labeled and numbered glass tubes.

  - 10ul is appropriate for extracts expected to give over 2000 units of activity, 50ul for extracts expected to give <100units, and 20ul for all others—usually we will use 20ul, if this doesn’t work out we redo it with the appropriate amount.  I normally use 25ul b/c it makes the Lowry easier.

- Add 1ml of Z buffer (repeat pipetter)

- Incubate at 30C for at least 5min.  Add 0.2ml of ONPG.  ---start timer---

- Continue incubating at 30C until the solution turns post-it light yellow.  Add 0.5ml Na2CO3 to stop the reaction.  ---note the time---

- Spin down the cell debris.  Read the OD420 of the supernatant.

- Perform a protein assay

- Compute Miller Units

Z=((OD420 * 1.7)/0.0045) / (time in minutes * volume of cell extract in ml * concentration of protein in extract ug/ml)=nmol ONPG cleaved/min/mg protein

- Drop it like it’s hot.

- Collect PhD.

Lowry Protein Assay

- Make sure have reagents A, B, and C and Folin reagent.

- Add same volume of extract used in step 7 and add ddH2O to final volume of 200ul in microfuge tubes.  Be sure to add extracts in the same order as you did in the glass tubes!

- Also prepare a standard curve by preparing 1mg/ml of BSA, then pipette 0,10,20,40,60,80,100,200ul into separate microfuge tubes 2X. (add ddH2O to 200ul total volume)

  - FYI 10ul=0.010mg BSA, 20=0.020mg BSA etc)

- Add 1ml of reagent C and vortex

- Wait 10min

- Add 100ul 1N Folin reagent (may have to dilute) and vortex

- Let sit at room temperature for 30 minutes

- Spin in centrifuge for 5min

- Measure OD750 for the constructs be sure to tare (set ref) using 0ul 1mg/ml BSA and read the standard curve tubes.

- Plot standard curve data in MS Excel (OD750 on x-axis) then right click a data point and add a 2nd order polynomial trend line---be sure to check “show equation on chart” under the options tab.  Then solve for X using the quadratic formula.  OR You can DO IT THE EASY WAY and have excel draw a straight line from the data and then solve for X from y=mx+b. y=protein concentration, x= OD750

- Plug the equation divided by volume of extract used into your b-gal spreadsheet to convert your OD750 into ug/ml protein.

Reagents

Recipe for Z Buffer (1 liter):

16.1g Na2HPO4-7H2O

5.5g NaH2PO4-H2O

0.75g KCl

0.246g MgSO4-7H2O

2.7ml β-mercaptoethanol or can add 270ul/100ml

H2O to 1 liter

(filter sterilize and store at room temperature)

ONPG Also known as 2-nitrophenyl β-D-galactopyranoside

4mg/ml in Z buffer

Reagent A:  2%Na2CO3 in 0.1 N NaOH

Reagent B1: 1% CuSO4*5H2O

Reagent B2: 2% NAKTartrate*4H2O  (Rochelle salt)

Reagent B: 1 vol. B1 + 1 vol. B2

Reagent C: 49 vol A + 1 vol. B OR 49ml of A + 0.5ml B1 + 0.5 B2

Breaking Buffer (1000ml)

20% glycerol                =   200ml

0.1M Tris-HCl pH 8.0 =   100ml 1M Tris-HCl pH 8.0 (make separate solution to Ph then add)

1mM DTT                   =    0.154g DTT powder

2mM PMSF                 =   make 50mM stock (dissolve in isopropanol) add 40ml

ddH2O                         = q.s. to 1000ml